|  | Wireline Equipment Engineering |
| --- | --- |

Detailed Design Package

| Project Title: | ${ddpProjectName} |
| --- | --- |
| Project Number/revision: | ${ddpProjectNumber} |
| Oracle/ Task Code: | ${ddpProjectOracle} |
| DDP Number: | ${ddpNumber} |
| Site: | ${ddpSite} |
| CLLI: | ${ddpCCLI} |
| Version: | ${ddpVersion} |
| Revision Date: | ${ddpRevisionDate} |
| Requested Completion Date: | ${ddpRequestedDate} |
| EE Specialist: | ${ddpSpecialist} |

ÓÓ Rogers Communications, 2025 - Do Not Duplicate

No part of this document may be reproduced or reused in any form or by any means, electronic or mechanical, including photocopying, recording, or by any information storage and retrieval system, without permission in writing from Rogers Communications Partnership.

Revision History

| Date | Version | Editor | Description |
| --- | --- | --- | --- |
| July 18, 2025 | 0.1 | Aitreyi Patel | Initial Document |
| July 18, 2025 | 1.0 | Brandon StCoeur | Released as per EDS ver 1.0 June 20, 2025 |
| XXX | 1.1 | XXX | XXX |
| XXX | 1.2 | XXX | XXX |
| XXX | 1.3 | XXX | XXX |
| XXX | 1.4 | XXX | XXX |
| XXX | 1.5 | XXX | XXX |

TABLE OF CONTENTS

1	INTRODUCTION	3

1.1	Contact Information	3

2	HIGH LEVEL DIAGRAM	3

2.1	Site Level Drawing	3

3	MATERIALS	4

4	SCOPE OF WORK	4

4.1	Installation/Migration/Decommissioning	4

4.1.1	Work Description/Details	4

4.1.2	Cable Run List	5

4.1.3	Rack Layout	6

4.1.4	Floor Plan	8

4.1.5	Power Requirements	8

4.2	activation	8

4.2.1	Power on/Turn up	8

4.2.2	Network Management	9

4.2.3	Test and Acceptance/Commissioning	9

4.2.4	Supporting Documentation	9

5	TO BE RETURNED UPON PROJECT COMPLETION	9

INTRODUCTION

The purpose of the project is to support the 2025 dSDE BAU Capacity upgrade program by installing 1x MPC7E both DGW70.NFSJ and DGW71.NFSJ on slot # 5 of each router and Install 2 x 100G FR and 2 x e SR optics in each router to facilitate the utilization of newly added ports.

The purpose of the DDP is to install 2x MPC7E and 8x QSFP in DGW70/71.NFSJ at 541 Kenmount Rd, St. John's, NL (STJHNFAS/ NFSJ/ S0222).

DDP Overview

| Description | Quantity |
| --- | --- |
| Equipment Install | 10 |
| Patch Cord Install | XX |
| Power Connection | XX |
| Total Rack Units | XX |
| Total AC (Amps) | XX |
| Total DC (Amps) | XX |

Contact Information

| Contact | Role | Contact Number |
| --- | --- | --- |
| NOC | NCC #1, Transport & Wireless #2, Data/Voice #3, Core #4, Video #5, EBNOC #6 | 647-747-5800 or 1-800-800-9155 |
| Brandon St. Coeur | EE Specialist | Brandon.StCoeur@rci.rogers.com |
| Murtaza Husnain | Senior IP Engineer | Murtaza.Husnain@rci.rogers.com 647-917-8783 |
| Sergey Konyshev | Project Manager | Sergey.Konyshev@rci.rogers.com 647-622-9415 |
| Mustafizur Rahman | Implementation Specialist | Mustafizur.Rahman@rci.rogers.com 506-961-2763 |
| Aitreyi Patel | Design Consultant | Aitreyi.Patel@rci.rogers.com 905-997-4010 |

HIGH LEVEL DIAGRAM

N/A

Site Level Drawing

N/A

MATERIALS

Note:

- For MPC7E card: The MPC7 line cards are re-deployed out of SAR Project X24A501A01 & will be shipped by SDE Engineering to the site (NFSJ).

- For QSFPs: Pull QSFPs from GI under Oracle: 303970.

| RCPC# | Vendor | Part# | Description | Qty |
| --- | --- | --- | --- | --- |
| 4H7-107K-BG | Juniper | MPC7E-MRATE | 10G/40G/100G QSFP28 | 2 |
| 4H7-107J-BG | Juniper | QSFP-100G-SR4-C | QSFP-28, 100G-SR4 Transceiver | 4 |
| 414-100K-BG | Juniper | QSFP-100G-FR | QSFP28 100G FR Single Lambda Transceiver | 4 |

SCOPE OF WORK

Installation/Migration/Decommissioning

Work Description/Details

- Request NCT for activities.

- Ensure all cables are on site and ready to be implemented.

- Use electrostatic discharge (ESD) grounding strap when working with electronic equipment.

RACK 1110

- RU03: Locate existing Juniper MX960-PREMIUM-DC-ECM chassis labelled as “DGW71.NFSJ”.

    - Slot 05: Install 1x 10G/40G/100G QSFP28. (Part# MPC7E-MRATE).

      - Port Et-5/0/2, & Et-5/0/5: Install 2x QSFP28 100G FR Single Lambda Transceiver. (Part# QSFP-100G-FR).

      - Port Et-5/1/2, & Et-5/1/5: Install 2x QSFP-28, 100G-SR4 Transceiver. (Part# QSFP-100G-SR4-C).

RACK 1104

- RU03: Locate existing Juniper MX960-PREMIUM-DC-ECM chassis labelled as “DGW70.NFSJ”.

    - Slot 05: Install 1x 10G/40G/100G QSFP28. (Part# MPC7E-MRATE).

      - Port Et-5/0/2, & Et-5/0/5: Install 2x QSFP28 100G FR Single Lambda Transceiver. (Part# QSFP-100G-FR).

      - Port Et-5/1/2, & Et-5/1/5: Install 2x QSFP-28, 100G-SR4 Transceiver. (Part# QSFP-100G-SR4-C).

- Call NOC to close the ticket.

Hardware Description:

Figure 1: MPC7E line card

Cable Run List

N/A

Rack Layout

Note: Right-click/ Double-click to open the files as a PDF Object.

Floor Plan

Note: Right-click/ Double-click to open the files as a PDF Object.

Power Requirements

N/A

activation

Power on/Turn up

[Check power draw from the fuse panel/BDFB/AC source before and after equipment install and provide information to EE specialist, if existing load is over 80% of capacity do not proceed and return to EE for direction]

Network Management

N/A

Test and Acceptance/Commissioning

N/A

Supporting Documentation

EDS: attachment

Basic MOP: attachment

TO BE RETURNED UPON PROJECT COMPLETION

- As built – All changes must be identified in red ink in cable run list, rack elevation, network drawing as appropriate.

- List of items that must be returned listed below:

POWER READING [Before and after]

RETURN OPTICAL POWER LEVELS

DEFICIENCY LIST

END OF FILE